## Slide 1: Renewable power plant

## Slide 2: Introductie
Aanpak
Power output analyses
voortgang
Demonstratie GUI
Notes: We need to find the find the best configuration for a hybrid solar/wind energy powerplant to power danone factory that has a constant demand of 6MW. This configuration must be the lowest cost or close to the lowest cost configuration for a specific scenario. We also need to use the Simulink simulation that will provide us with the the power output based on the weather data and the configuration that is given.

## Slide 6: Python out vs Simulink out

## Slide 7: Power output per PV-paneel
PV-panelen naar het zuiden met een hoek van 37 graden

## Slide 8: Power output per PV-paneel
Bicubic Interpolation

## Slide 9: Power output per windturbine

## Slide 10: vergelijking KNMI data met wind turbine power output

## Slide 11: Terrein factor berekenen
Invoer windsnelheid 10m hoogte
Gemiddelde windsnelheid op 100m
Berkenen van "a"
Source: KNMI

## Slide 12: Terrein factor
Notes: We need to find the find the best configuration for a hybrid solar/wind energy powerplant to power danone factory that has a constant demand of 6MW. This configuration must be the lowest cost or close to the lowest cost configuration for a specific scenario. We also need to use the Simulink simulation that will provide us with the the power output based on the weather data and the configuration that is given.

## Slide 13: Demonstratie GUI

## Slide 14: Voortgang
Paper
Creëren executable

## Slide 15: Questions?